V3.2_20200314


Bee2/Bee2H 2D Handheld Barcode Scanner

	Acquisition Performance

	Model No
	Bee2
	Bee2H

	Sensor
	Image Type, CMOS Sensor

	Resolution
	0.3M Pixels, 640 X 480
	1M Pixels,1280 X 800

	Scanner Speed
	1/30 fps
	1/60 fps

	Field of View
	Diagonal 58°, Horizontal 42°,     Vertical 36°
	Diagonal 57°, Horizontal 45°, Vertical 30°

	Scan Precision
	2D≥5mil, 1D≥4mil
	2D≥5mil, 1D≥3mil

	Scan Capability

	DOF of Bee2
	Testing Condition
	DOF

	
	Code 128 10mil 18bytes paper code
	60~310mm

	
	Code 128 18bytes phone code
	70~260mm

	
	QR 10mil 160bytes paper code
	30~120mm

	
	DM 15mil 100bytes paper code
	30~200mm

	
	QR 18bytes phone code
	50~460mm

	DOF of Bee2H
	Code 39 4mil paper high density code
	60~110mm

	
	Code 39 110mm paper long code
	110~240mm

	
	QR 1200bytes paper big code
	50~140mm

	
	Code 39 18bytes phone code
	60~350mm

	
	QR 18bytes phone code
	60~580mm

	Scan Angle
	Roll 360°, Pitch ± 55°, Screw ± 55°

	Symbologies 
	2D Code:

QR Code, Data Matrix, PDF417, Han Xin Code, Dotcode, etc, 

	
	1D Code:

UPC-A, UPC-E, EAN-8, EAN-13, ISBN, Code 128, GS1 128, ISBT 128, Code 39, Code93,Code 11, Interleaved 2 of 5, Industrial 2 of 5,Matrix 25, Standard 25, Codabar, MSI/MSI PLESSEY, GS1 DataBar, etc.

	
	Support GS1 standard

	Print contrast  
	20% minimum reflectance

	LED

	Illumination 
	White

	Aimer
	RED String/Green String (Need Customization)

	Physical Parameter

	Dimension
	（L×W×H）：110mm×60mm×185mm 

	Shell Material
	ABS（Flame-retardant）

	Weight 
	127g

	Interface

	 Interface
	UART，USB-COM，USB KBW（support GBK、GB2312、UTF Chinese）

	Cable
	2 meter, automatic shift between USB and port, plug is customized.

	Scan Mode
	Trigger Mode/Command Mode/Sense Mode

	Notification
	LED，beeper

	Environmental Parameter

	Operating Temperature 
	-30℃ ~ 70℃ 

	Storage Temperature 
	-40℃ ~ 80℃ 

	Humidity 
	Relative 5% ~ 95%（no-condensing）  

	Ambient Light
	Max.100,000 Lux 

	Safety

	EMC
	CE & FCC，GB9254-2008 B，GB/T17618-1998

	ESD
	± 15KV(non-contacting)，± 8KV(contacting)

	RoHS
	Certified

	Safty
	GB4943.1-2011，GB/T2408

	Electrical Parameter

	Input Voltage
	5V±0.5V

	Operating Current
	<200mA

	Standby Current
	<1mA


[image: image1.jpg]-

g J
/‘ ‘




- 1 -

